FORMAT FOR ELETRICAL ENERGY AUDIT FOR   BRANCHES

| BRANCH CODE & NAME | {branch_name} |
| --- | --- |
| ADDRESS | {branch_address} |
| SANCTIONED LOAD |  |
| CONNECTED LOAD |  |
| MONTHLY ELECTRICITY BILL (APPX) |  |
| TOTAL TONNAGE OF AIR CONDITIONER LOAD |  |
| AREA OF THE BRANCH |  |

ELECTRICAL ENERGY AUDIT:

| S.No. | DESCRIPTI | Wattage | Recommendation |
| --- | --- | --- | --- |
| 1. | Type of Electrical Fittings installed and its |  |  |
| 2. | No of Ceiling Fan installed and its power consumption. |  |  |
| 3. | No. of Wall Fan installed and its power consumption |  |  |
| 4. | No o f Air-conditioners and its capacity and power consumption of each. |  |  |
| 5. | No of computer installed and its power consumption. |  |  |
| 6. | UPS installed and its capacity |  |  |
| 7. | Any other gadgets i n s t a l l e d and its power consumption. |  |  |
| 8. | Verification of electricity Bill for last 12 months and observation if any |  |  |
| 9 | Leakage if any in the wiring system |  |  |

The particulars furnished in the application are true to the best of my/our knowledge & belief. I 0/we understand that if any of the particulars is found incorrect, even at a later stage, my/our contract will be cancelled.

SIGNATURE & SEAL OF AUDITOR : {auditor_signature}

DATE : {audit_date}

PLACE : {place}

ELECTRICAL AUDIT / INSPECTION FORM FOR

BRANCHES (INCLUDING ONSITE ATM), OFF SITE ATM &

ADMINISTRATIVE OFFICES

NAME OF BRANCH / OFFICE:                                                                                DATE OF VISIT:

Total Branch Load : {connected_load}

KW Per Phase Load : {phase_total_load}

| Phase I (KW) | Phase II (KW) | Phase III (KW) |
| --- | --- | --- |

Whether Load is balance or unbalanced          :          YES/NO

If Load is unbalanced Rectification to be done  :

Total Load of the Branch

| Rooms | Tube Light | Fan | Cooler | Water Cooler | PC | Printer | Cash Counting Machine | AC | UPS |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Banking Hall |  |  |  |  |  |  |  |  |  |
| Customer's Hall |  |  |  |  |  |  |  |  |  |
| Strong Room |  |  |  |  |  |  |  |  |  |
| Manager's Cabin |  |  |  |  |  |  |  |  |  |
| Server Room |  |  |  |  |  |  |  |  |  |
| Staff Room |  |  |  |  |  |  |  |  |  |
| Canteen |  |  |  |  |  |  |  |  |  |
| Stationery Room |  |  |  |  |  |  |  |  |  |
| Toilets |  |  |  |  |  |  |  |  |  |
| Any Other Room 1 |  |  |  |  |  |  |  |  |  |
| Any Other Room 1 |  |  |  |  |  |  |  |  |  |
| Any Other Room 2 |  |  |  |  |  |  |  |  |  |
| Total Load |  |  |  |  |  |  |  |  |  |

Audit /Inspection Observations

| Sl. No. | Description | Observation |
| --- | --- | --- |
| 1 | Condition of Main Distribution Board / Sub Distribution Board. |  |
| 2 | Cables & wires used in the installation to be checked for required insulation and current carrying capacity. Condition of wiring with specific remark Note : Bunching of wires to be avoided & Proper clamping of conduits with wires to be done in the wall.. |  |
| 3 | Loose connection & hanging wires. |  |
| 4 | Heavy Duty contact points to be checked for the firm connection to avoid overheating and minimize power loss. |  |
| 5 | Condition of the fuses / main switches. Note: If Branches are provided with old switches and boards it can be replaced with MCB's and Distribution Boards of suitable capacity. |  |
| 6 | Whether any single plug point used for various power applications by means of any extension board. Note: For avoiding overloading of Circuits. |  |
| 7 | Non provision of MCB / Circuit Breakers of adequate capacity. Note : Incoming and individual outgoing MCB's / switches to be rated with proper capacity |  |
| 8. | Condition of neutral wire / earthing Note: Check for any loose connection |  |
| 9 | Details of Connected Load |  |
| 10 | Sanctioned Load (By State Electricity Board) (in KW) Present Load (in KW) If the available Load is more than the sanctioned load then the additional equipment which are connected are to be ensured that the wiring / switches / MCBs provided is capable of withstanding additional load. This is the root cause of fire accidents. |  |
| 11 | Power Consumption in excess of the sanctioned load. |  |
| 12 | Check for availability of measuring instruments in the Control Panel viz. Voltmeter, Ammeter, Frequency Meter, Power Factor Meter, Energy Meter for its calibration to measure electricity. |  |
| 13 | Earthing: (a) UPS Earthing- Value in ohms. (b) Raw power Earthing- Value in ohms. (c) No: of earth pits Note:UPS and Raw Power should have separate Earthing. |  |
| 14 | Total UPS Load:- (a) Total no of UPS with capacity (b) UPS panel wiring (c) Whether alternate Nodes are connected to one UPS. (d) Is UPS under AMC with OEM or not? (e) Is whether UPS load balanced? Mention Current in all the three phases. Note: If UPS load is imbalanced, the loads to be balanced in all the three phases. |  |
| 15 | UPS Batteries:- (a) No of Batteries (b) Periodicity of servicing (c) Proper ventilation / Exhaust fan provided |  |
| 16 | Air-conditioner:- (a) No of Airconditioners working round the clock with Tonnage. (b) Whether separate stabilizer provided for each AC unit (c) Any timer fixed to the AC units for alternate functioning. (d) Check whether supply for ACs is drawn through power points. (e) Date of last servicing carried out. (f) Eligible life span of ACs. (g) Whether Outdoor units are earthed? (h) Whether Ac's are covered in AMCs? If Yes, what is the frequency of Preventive Maintenance in a year? Note : Periodic cleaning of AC filters is mandatory. |  |
| 17 | Any Generator provided (a) Location (b) Capacity (in KVA) (c) Periodical maintenance (Whether AMC with OEM or not?) (d) Change over switch manual or automatic. |  |

.

SAFETY QUESTIONER

| S.NO. | DESCRIPTION | DETAILS | REMARKS |
| --- | --- | --- | --- |
| 1 | WHETHER TPN ISOLATORS / MCCBs / ELCBs / ARE PROVIDED TO CATER THE LOAD | YES / NO |  |
| 2 | WHETHER LIGHTS AND EMERGENCY LIGHTS ARE PROVIDED IN ELECTRICAL ROOM / OPERATING AREAS FOR EASY OPERATION & MAINTENANCE WORKS | YES / NO |  |
| 3 | WHETHER PUMP ROOM, DG SET ROOM, UPS ROOM, AC PLANT ROOM, ELECTRICAL PANEL ROOM ARE MAINTAINED IN DRY AND IN GOOD CONDITION AND OBSOLETE / HAZARDOUS / OLD ITEMS ARE NOT DUMPED THERE. | YES / NO |  |
| 4 | WHETHER WATER SEEPAGE IS OBSERVED NEAR ANY OF THE ELECTRICAL PANEL, DISTRIBUTION BOARD, ELECTRICAL EQIPMENT, ETC | YES / NO |  |
| 5 | WHETHER EARTHING PITS ARE PROVIDED AND CONNECTED TO EQUIPMENT AND THE BODY OF EQUIPMENT | YES / NO |  |
| 6 | WHETHER EARTHING PITS ARE MAINTAINED PROPERLY | YES / NO |  |
| 7 | WHETHER EXHAUST FANS FOR VENTILATION OF PANEL ROOM / ELECTRICAL ROOM / UPS ROOM / DG SET ROOM IS PROVIDED AND NO PAPER, OLD MATERIAL OR ANY OTHER SCRAP IS KEPT NEAR DB / PANELS / UPS / BATTERIES ETC. | YES / NO |  |
| 8 | WHETHER PENALTY IS BEING IMPOSED IN ELECTRICITY BILL ON ACCOUNT OF HIGHER LOAD / POOR POWER FACTOR / POOR LOAD FACTOR ETC (ACERTAINED FROM THE ELECRICITY BILLS OF APRIL/MAY/JUNE/JULY) ADDITIONAL ELECTRICAL LOAD REQUIRED (IF ANY) | YES / NO |  |
| 9 | WHETHER LOAD IS DISTRIBUTED IN ALL THREE PHASES TO AVOID ANY UNBALANCING OF PHASE LOAD AND NO LOOSE ELECTRICAL CONNECTIONS / HAPHAZRAD WIRINGS OBSERVED IN THE BUILDING / OFFICE PREMISES. | YES / NO |  |
| 10 | WHETHER ISOLATING SWITCHES ARE PROVIDED FOR SWITCHING OFF OF THE NON ESSENTIAL LOADS IN PREMISES DURING NIGHT AND MAIN SWITCH TO SWITCH OFF THE POWER SUPPLY TO THE BUILDING / FLOOR IN CASE OF FIRE / EMERGENCY. | YES / NO |  |
| 11 | WHETHER PROPER PREVENTIVE MAINTENANCE AFTER OPENING OF THE ELECTRIACL BOARDS AND DISTRIBUTION BOARDS ARE CARRIED OUT BY THE LICENSE HOLDER ELECTRICIAN OR SKILLED TECHNICIANS OF EQUIPMENT MANUFACTURER / SERVICE PROVIDERS. | YES / NO |  |
| 12 | WHETHER APPROPRIATE TIMERS USED IN THE CHANGEOVER OF AIR CONDITIONERS FOR SERVER ROOM ACs AND FOR SIGNAGE BOARDS TO MAKE AUTO ON / OFF (FOR SCHEDULE TIMINGS). THE THERMOSTAT OF THE ACs AT SERVER ROOM SHOULD BE SET TO SAY 26 C, SO THAT IT WILL RUN ONLY WHEN THE TEMPRATURE IS TOO HIGH (TO MINIMIZE CHANCES OF FIRE DUE TO IDLE RUNNING OF THE ACs DURING NIGHT) | YES / NO |  |
| 13 | WHETHER PREVENTIVE MAINTENANCE OF THE ELECTRIC INSTALLTION AND EQUIPMENT IS CARRIED OUT BY SKILLED LICENSE HOLDER ELECTRICIANS / SKILLED TECHNICIANS | YES / NO |  |
| 14 | GENERAL CONDITION OF ELECTRICAL CONTROL PANELS, MAIN SWITCH, ELECTRIC METER BOARD, CHANGE OVER SWITCH, AC, WATER COOLERS, WATER FILTERS, WIRING CABLES ETC ARE IN GOOD CONDITIONS AND DBs, PANELS, SWITCH BOARDS ARE PROPERLY COVERED | YES / NO |  |
| 15 | WHETHER ELECTRICASAFETY L EQUIPMENTS OF PANTRY ETC ARE PROPERLY CONNECTED TO INDUSTRIAL SOCKET BOX WITH MCBs. MCBs OR LATEST TYPE SWITCHES ARE PROVIDED TO SWTICH ON / OFF THE ACs TO PROTECT THEM FROM OVERLOAD. | YES / NO |  |
| 16 | WHETHER THE CONTACT NUMBER OF PERSONS, ELETRICIANS, POWER DISTRIBUTION COMPANY. GENERTOR SERVICE PROVIDER, UPS VENDORS, ACs ETC ARE AVAILABLE WITH SECURITY GAURDS AND OTHER STAFF ARE DISPLAYED IN ELCTRIC / UPS/ SERVER ROOM. | YES / NO |  |
| 17 | WHETHER POWER FACTOR CORRECTION PANEL OF APPROPRIATE RATING IS INSTALLED. | YES / NO |  |
| 18 | WHETHER ALL THE CONNECTING POINT AT VARIOUS DBs AND PANELS ARE PROPERLY INSULATED AND PROPER INDICATIVE MARKING ARE DONE ARE THE RESPECTIVE PANEL /DB | YES / NO |  |
| 19 | WHETHER THE INTERNAL INSULATION OF THE WIRE HAVE BEEN ACCOUNTED FOR CHECKING THE DURABILITY OF ELECTRICAL CONNECTION | YES / NO |  |
| 20 | ALL OLD DISPOSABLE RECORDS, BROKEN FURNITURE ETC ACCUMULATED IN THE PREMISES HAVE BEEN CLEARED. | YES / NO |  |
| 21 | COMBUSTIBLE LEAF LITTER / WASTE PAPERS ETC IN AND AROUND THE BRANCH ARE REMOVED / CLEANED PERIODICALLY | YES / NO |  |
| 22 | NO STATIONARY / RECORDS / OLD OBSOLETE ITEMS ARE STORED / KEPT IN THE SERVER / UPS / ELECTRIC ROOM | YES / NO |  |
| 23 | STORAGE RACKS IN STATIONARY / RECORD ROOM KEPT AT A SAFE DISTANCE OF AT LEAST 2M FROM ELECTRICAL POINTS / SWITCH / JUNCTION BOXES | YES / NO |  |
| 24 | WHETHER IN THE PANTRY / CANTEEN, LPG IS USED | YES / NO |  |
| 25 | ARE THE FIRE EXTINGUISHERS AVAILABLE IN THE FOLLOWING WORK AREA AND CLEARLY MARKED AND ACCESSIBLE: 1. SERVER / UPS ROOM: CO2 TYPE X 2 2. INDIVIDUAL DEPARTMENT OF THE PREMISES: CO2 TYPE X 1 3. STATIONARY ROOM: CO2 TYPE X 1 4. ELECTRIC ROOM / AC PLANT ROOM: CO2 TYPE X 2 5. DG SET/GENERATOR : 6KG ABC CAPACITY X 2 | YES / NO |  |
| 26 | WHETHER SERVER ROOM HAVE DUAL AC UNITS WITH TIMER CIRCUIT DEVICE ON INDEPENDENT | YES / NO |  |
| 27 | WHETHER EXHAUST FANS ARE INSTALLED IN UPS ROOM | YES / NO |  |
| 28 | WHETHER PROPER INSULATION AT THE BATTERIES HAVE BEEN PROVIDED | YES / NO |  |

Details of rectification required

HIGH RISK : {high_risk_items}

MEDIUM RISK : {medium_risk_items}

LOW RISK : {low_risk_items}

Approximate cost for carrying out rectification work. (Individual cost of items to be mentioned)

| SIGNATURE OF QUALIFIED ELECTRICIAN / AGENCY WITH ADDRESS | SIGNATURE OF BRANCH MANAGER |
| --- | --- |

DYNAMIC TEMPLATE VARIABLES

{branch_name}

{branch_code}

{branch_address}

{audit_date}

{sanctioned_load}

{connected_load}

{monthly_electricity_bill}

{total_ac_tonnage}

{branch_area}

{phase_1_kw}

{phase_2_kw}

{phase_3_kw}

{is_load_balanced}

{load_rectification}

{high_risk_items}

{medium_risk_items}

{low_risk_items}

{auditor_signature}

{place}